## Instructions
ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER
Contract title: Supply of medicines, consumables and reagents for Malawi
p 1/4
Publication reference: Interlinked_AID. 013253/01/0_MCR
Columns 1-4a should be completed by the contracting authority
Columns 5-8 should be completed by the tenderer
Column 9 is reserved for the evaluation committee
Annex III - the contractor's technical offer
The tenderers are requested to complete the template on the next pages:
Columns 2-4a is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
Columns 5-7 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
Column 8 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation
In Column 7 the tenderer must indicate the expiry date - Please note that the minimum shelf life must be 12 months (from the date of delivery)
For all items, an information leaflet in English is required.
The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.
The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

## Medicines for Blantyre
Publication reference: Interlinked_AID. 013253/01/0_MCR
Notes for completion
4° | Different pack size are accepted. Be sure to adapt the packsize to the total quantities requested
5. * | For every item the information leaflet in english is required as well as a sample
6. ** | Indicate the composition of the packaging: type and quantities (for example 10x10 tabs)
7. *** | Indicate the date of validity - Please observe that the minimum validity must be of 12 months from the delivery date
Lot 1: Medicines for Blantyre
1.Item Number | 2.Name of item requested | 3. Dosage | 4. Quantities per pack requested° | 4a. Indicative quantities of total packs required | 5.Specifications offered * | 6.Quantities offered per pack ** | 7.Quantities packs offered ** | 8.Expiry dates *** | 9. Notes, remarks, ref to documentation | 10. Evaluation committee notes
1.1 | Pyridoxine 50mg | 50mg | 1000 | 110
1.2 | Multivitamin tab | tab | 100 | 200
1.3 | Multivitamin syrup | 100ml | units | 600
1.4 | Carbamazepine 200mg | 200mg | 1000 | 1200
1.5 | Phenobarbitone 30mg | 30mg | 1000 | 1500
1.6 | Sodium Valproate 200mg | 200mg | 100 | 3000
1.7 | Levetiracetam 500mg | 500mg | units | 300000
1.8 | Levetiracetam 1000mg | 1000mg | units | 100000
1.9 | Amitriptylline 25mg | 25mg | 100 | 300
1.10 | Metformin 500mg | 500mg | 100 | 2520
1.11 | Metformin 1000mg | 1000mg | 100 | 2200
1.12 | Glibenclamide 5mg | 5mg | 1000 | 128
1.13 | Glibenclamide 2,5mg | 2.5 mg | 1000 | 128
1.14 | Glimipride 2mg | 2mg | 100 | 220
1.15 | Glimipride 1mg | 1mg | 100 | 180
1.16 | Hydrochlorthiazide 25mg | 25mg | 1000 | 1000
1.17 | Furosemide 40mg | 40mg | 1000 | 300
1.18 | Amlodipine 5mg | 5mg | 100 | 8000
1.19 | Amlodipine 10mg | 10mg | 100 | 1200
1.20 | Nifedipine 10mg | 10mg | 100 | 200
1.21 | Nifedipine 20mg | 20mg | 100 | 300
1.22 | Atenolol 50mg | 50mg | 100 | 2000
1.23 | Atenolol 100mg | 100mg | 100 | 300
1.24 | Enalapril 5mg | 5mg | 100 | 1000
1.25 | Enalapril 10mg | 10mg | 100 | 1000
1.26 | Amoxicillin 250mg | 250mg | 100 | 2700
1.27 | Amoxicillin 500mg + Clavilunic acid 125 mg | 500mg + 125mg | unit | 30000
1.28 | Amoxicillin suspension 100ml | 100ml | unit | 7200
1.29 | Azithromycin 500mg | 500mg | unit | 4000
1.30 | Erythromicin 250mg | 250mg | 1000 | 100
1.31 | Erythromicin syrup | 125mg/5ml | 1 | 1000
1.32 | Ibuprofen 200mg | 200mg | 1000 | 400
1.33 | Paracetamol tablets | 500mg | 1000 | 300
1.34 | Paracetamol Syrup | 120mg/5ml 100ml | 1 | 7000
1.35 | Diclofenac 100mg | 100mg | 100 | 500
1.36 | Metronidazole 200mg | 200mg | 1000 | 200
1.37 | Metronidazole syrup | 200mg/5ml | 1 | 1500
1.38 | Cefixime 200mg tablets | 200mg | 100 | 15
1.39 | Ceftriaxone injection | 1g | 1 | 1500
1.40 | Benzathine injection | 2.4MU | 1 | 200
1.41 | Gentamicin injection | 80mg/2ml | 1 | 600
1.42 | Clotrimazole pessaries | 500mg | 1 | 3000
1.43 | Beclomethasone 0.025%, Gentamycin 0.1%,Miconazole 2.0% (Triple action cream) | 30mg | 1 | 6000
1.44 | Betamethasone cream 0.05% | 15gr | 1 | 12500
1.45 | Clotrimazole cream 1% | 20gr | 1 | 3600
1.46 | dexttromethorphan, bromhexine, chlorpheniramine, and ammonium chloride syrup | 100ml | 1 | 1500
1.47 | Aminophylline 90mg | 90mg | 1000 | 36
1.48 | Salbutamol 4mg | 4mg | 1000 | 36
1.49 | Zinc | 20mg | 100 | 60
1.50 | Oral rehydration salts | sachets | 1 | 3000
1.51 | Water for injection - vial | 10ml | 50 | 60

## Consumables for Blantyre
Publication reference: Interlinked_AID. 013253/01/0_MCR
Notes for completion
4° | Different pack size are accepted. Be sure to adapt the packsize to the total quantities requested
5. * | For every item the information leaflet in english is required as well as a sample
6. ** | Indicate the composition of the packaging: type and quantities
7. *** | Indicate the date of validity - Please observe that the minimum validity must be of 12 months from the delivery date
Lot 2: Consumables for Blantyre
1.Item Number | 2.Name of item requested | 3. Specifications required | 4. Pack Size° | 5. Packs requested | 6.Specifications offered * | 7.Quantities offered ** | 8.Expiry dates *** | 9. Notes, remarks, ref to documentation | 10. Evaluation committee notes
2.1 | Gloves | Powder free, Large | pack 1x100 | 400
2.2 | Gloves | Powder free, medium | pack 1x100 | 400
2.3 | Vacuette needles | Sterile disposable 21G needle, 1.5 cm, for venipuncture with vacuum (Vacutainer) | pack 1x100 | 75
2.4 | Vacuette Holders | a standard plastic transparent container that accepts vacueta needle (double ended needles )or vacuator adaptor, universal size | pack 1x100 | 180
2.5 | Medical alcohol swab | single-use, non-woven pads saturated with 70% isopropyl alcohol | pack 1x100 | 90
2.6 | First aid kit | Large, metal. First Aid Kit (box) containing adhesive tape, band-aids, gauze burn dressings, elastic bandage, triangular bandage, scissors, and examination gloves. | unit | 6
2.7 | Plain Tubes | Red Tops Vacutest A 4-ml collection tubes | pack 1x100 | 380
2.8 | EDTA Tubes | Purple Tops K3 EDTA 4-ml blood collection tube | pack 1x100 | 520
2.9 | Butterfly needles 21G | 21G Butterfly Needles + Luer System | pack 1x100 | 180
2.10 | Butterfly needles 23G | 23G Butterfly Needles + Luer System | pack 1x100 | 200
2.11 | Vacuette adapters | BD Vacutainer Multiple Sample Luer Adapter | pack 1x100 | 180
2.12 | Safety boxes | Durable 20L yellow sharps container for safe disposal of needles and biohazardous waste. Puncture-resistant, leak-proof, and compliant with safety standards | unit | 600
2.13 | Cotton wool 500gr | Hospital-Grade Hydrophilic Cotton Rolls | pack 500 grams | 800
2.14 | Disposable Aprons | Single use, smooth surface, 75 x 120 cm, polyethylene | pack 1x100 | 2000
2.15 | Linen wrappers 1.5m | Instrument wrapper sheet mostly used for autoclave. Washable, Autoclavable, reusable and also known as tray cover sheet. | unit | 30
2.16 | 3M Indicator tape (roll ) | Autoclave tape; securely seal packs and enables personnel to know at a glance that the packs have been exposed to the sterilisation process. The chemical indicator ink, printed in a diagonal striped pattern, changes colour or turns darker when exposed to the sterilisation process. Not made with natural rubber latex Trusted, high quality adhesive Lead free ink means no hazardous waste issues Stretchable backing that minimizes tape "pop-off" during sterilisation Can be written on or labeled with pre-printed labels | unit | 36
2.17 | Glucometer | Certified to at least ISO 2015 standards Hematocrit range between 20% and 60% - Method - Electrochemical chemistry - Time to result - 5 sec. Sample volume - 0.9 µl - Sample type - Capillary - Whole blood - Blood reference - Plasma Unit - mg/dl or mmol/l - Memory - minimum of 400 tests with date and time Measurement range - 10 ~ 600 mg/dL (0.6 ~ 33.3 mmol/L) - Battery - 3 V Extras: Lancing device and corresponding lancets - Test strips with a minimum shelf life of 12 months | unit | 20
2.18 | Glucose strips | Blood glucose test strips compatible with the glucose meter listed above - Units Minimum shelf life: 12 months | pack 1 x 25 | 400
2.19 | Blood Lancets | single use, easy twist star cap | pack 1x100 | 20
2.20 | High-level disinfectant based on ortho-phthalaldehyde | Ready-to-use high-level disinfectant solution. The product shall be based on either 0.55% ortho-phthalaldehyde, glutaraldehyde-free, or 2.45% glutaraldehyde, with validated high-level disinfection efficacy according to the manufacturer’s instructions. It shall allow monitoring of the minimum effective concentration through compatible test strips and be suitable for use in standard reprocessing workflows. | 5L | 3
2.21 | Stethoscope | Superior acoustics, turnable diaphragm,stainless steel chestpiece, dual head, soft sealing eartips. Core technical dimensions include a total length of ~ 27 to 28 inches (69-71 cm), tubing with an internal diameter of roughly 0.3 cm (1/8 inch), and a dual-sided chestpiece featuring a diaphragm and bell. | unit | 9
2.22 | 70% Alcohol, 1 liter | 1L | unit | 10
2.23 | Ethanol, 99.9%, 2.5L | 2.5L | unit | 12
2.24 | Pippetes, 1mL | 1ml | pack 1x100 | 150
2.25 | Biohazard bags | size suitable for 20L containers. Polyethylene (PE / HDPE / LDPE): Highly flexible and puncture-resistant, generally used for general biohazardous waste meant for landfilling. | pack 1x50 | 20
2.26 | HIV Rapid Test – Diagnostic units | Rapid test for the diagnosis of HIV-1 and HIV-2 infection, used as an initial screening test. Lateral flow immunochromatographic test, visual reading. Samples: whole blood (WB), serum, or plasma. High sensitivity, accurate and easy-to-interpret results. No color change after final reading. Good resistance to humidity and tropical environmental conditions. Store at room temperature. Complete, ready-to-use kit. Proven quality (CE/WHO or equivalent). Minimum shelf life of 12 months. | unit | 1500
2.27 | HIV Rapid Test – Confirmation units | This rapid test is used to confirm HIV-1 and HIV-2 infection following a reactive diagnostic test. Lateral flow immunochromatographic test, visual reading. Samples: whole blood (WB), serum, or plasma. High specificity for diagnostic confirmation. Accurate and reproducible results. No color change after final reading. Good resistance to humidity. Store at room temperature. Complete kit. Proven quality (CE/WHO or equivalent). Minimum shelf life of 12 months. | unit | 700
2.28 | Rapid Syphilis Test Kits | Rapid on-site immunochromatographic test for the qualitative detection of anti-Treponema pallidum antibodies Features: Good resistance to humidity. Accurate results. No color change after the test result. Proven quality. Store at room temperature. Reading: Visual Samples: Capillary blood | unit | 1500
2.29 | Hepatitis B rapid test kits | Rapid test for the detection of Hepatitis B - HBsAg Antigen test Features: Good resistance to humidity. Accurate results. No color change after the test result. Proven quality. Store at room temperature. Reading: Visual Samples: Blood (S/P/WB) Minimum shelf life of 1 year. | unit | 1500
2.30 | Hepatitis C rapid test | Rapid test for the detection of anti-Hepatitis C antibodies (HCV Ab). Lateral flow immunochromatographic test, visual reading. Samples: whole blood (WB), serum, or plasma. Accurate and reliable results. No color change after reading. Good resistance to humidity. Store at room temperature. Complete kit. Proven quality (CE/WHO or equivalent). | unit | 1500
2.31 | CD4 Rapid Test Kit | Rapid test for the detection/estimation of CD4 cells. Technology: lateral flow immunochromatographic assay. Complete kit with all necessary reagents and consumables. Samples: whole blood (WB). Suitable for point-of-care (POC) use. Rapid results. Store at room temperature. Proven quality. Minimum shelf life of 12 months. | unit | 1000
2.32 | Crag rapid test | Rapid test for the detection of Cryptococcal Antigen (CrAg LFA). Lateral flow test, visual reading. Samples: whole blood, serum, or plasma. High sensitivity and specificity. Rapid results. Good resistance to humidity. Store at room temperature. Complete kit. Proven quality. Minimum shelf life of 12 months. | unit | 1000
2.33 | LAM rapid test | Rapid test for the diagnosis of tuberculosis (TB-LAM) through the detection of lipoarabinomannan (LAM) antigen. Indicated for patients with HIV, especially those who are immunocompromised. Immunochromatographic test, visual reading. Samples: urine. Fast and reliable results. Store at room temperature. Complete kit. Proven quality. Minimum shelf life of 12 months. | unit | 1000
2.34 | Cholesterol measuring device | Supply of a POCT system for a complete (”fractionated") lipid profile, for use with capillary whole blood (finger prick) in an outpatient/community setting. The system must allow for the determination of total cholesterol (TC), HDL cholesterol, and triglycerides (TG), with the provision of useful derived indices (e.g., TC/HDL ratio and non-HDL) and any calculated/estimated LDL in accordance with the manufacturer’s specifications. The supply must include the analyzer and dedicated consumables (strips/cartridges), in addition to any quality control materials required by the system. | unit | 10
2.35 | Test strips compatible with cholesterol measuring device | Cholesterol test strips compatible with the meter specified in the previous line - Units Minimum shelf life: 12 months | pack 1x500 | 5
2.36 | Digital sphygmomanometers | Arrhythmia Detection (ARR) Atrial Fibrillation Detection (AFib) Premature Contraction Detection (PC) Cuff Detection Motion Detection Hypertension Risk Indicator Average of the last 3 readings - 7-day AM/PM average - 120 memories for 2 users with date and time indication Patented Latex-Free Universal Cone Cuff - Minimum LCD size: 69 * 78 mm - Lifetime Calibration - Zipper pouch - Optional: PC Link EXTRAS: AC adapter - 1 size L nylon cuff for obese patients - 1 child-sized nylon cuff | unit | 60
2.37 | Portable Fingertip Pulse Oximeter | Portable battery-powered fingertip pulse oximeter for non-invasive measurement of oxygen saturation (SpO₂) and pulse rate (PR). Equipped with OLED/LED display, automatic power-off function, low-battery indicator, and suitable for adult patients. | unit | 26
2.38 | PP CRYO VIALS, 2ML, 12.5/48 mm | Sterile 2 ml polypropylene tubes with external thread and cups, with a temperature tolerance of -196 °C. | pack 1x500 | 30
2.39 | Cryo Boxes 1x10 pcs (p.p) RED CUP | cryogenic storage boxes, designed for critical temperature till - 196 °C , equipped with pre printed alphanumeric grid, compact, stockable for maximum storage volume, polycarbonate, ultra durable , 9x9 grid | 10 boxes 9x9 | 20
2.40 | Kit SU 50 Test HPV Assisted or Self-Sampling | HPV assisted or self-sampling kit, 50-test format, including sterile medical-grade plastic sampling devices with synthetic fiber tip, leak-proof polypropylene collection tubes/vials with screw cap and preservation medium, indicative tube capacity 2–5 mL, suitable for cervico-vaginal specimen collection, preservation and transport for HPV DNA testing, either by healthcare-assisted or self-collection. | pack 1x50 kits | 200

## Reagents for Blantyre
Publication reference: Interlinked_AID. 013253/01/0_MCR
Notes for completion
4° | Different pack size are accepted. Be sure to adapt the packsize to the total quantities requested
5. * | For every item the information leaflet in english is required as well as a sample
6. ** | Indicate the composition of the packaging: type and quantities (for example 10x10 tabs)
7. *** | Indicate the date of validity - Please observe that the minimum validity must be of 12 months from the delivery date
Lot 3: Reagents for Blantyre
1.Item Number | 2.Name of item requested | 3. pack size | 4 kits requested° | 5.Specifications offered * | 6.Quantities offered ** | 7.Expiry dates *** | 8. Notes, remarks, ref to documentation | 9. Evaluation committee notes
3.1 | HPV tests compatible with Cepheid genexpert | kit 1x10 | 250
3.2 | MTB/RIF Ultra compatible with Cepheid genexpert | kit 1x10 | 30
3.3 | HR HPV AMP Kit (CE) compatible with Abbott Alinity m | 1 kit (384 tests/pack) | 20
3.4 | Sample Prep Kit 1 compatible with Abbott Alinity m | 1 kit (1536 tests/pack) | 5
3.5 | HR HPV CTRL Kit (CE) compatible with Abbott Alinity m | Pack of 2 x 12 tubes | 12
3.6 | Stromatolyzer-WH compatible with Sysmex XP-300 | 3x500 | 10
3.7 | Cell pack diluent compatible with Sysmex XP-300 | 1x20L | 30
3.8 | Cell clean compatible with Sysmex XP-300 | 1x10mL | 6
3.9 | EightCheck-3WPL, 1.5mL compatible with Sysmex XP-300 | 12 PC | 24
3.10 | EightCheck-3WPN, 1.5mL compatible with Sysmex XP-300 | 12 PC | 24
3.11 | EightCheck-3WPH, 1.5mL compatible with Sysmex XP-300 | 12 PC | 24
3.12 | Aspartate Aminotransferase kit compatible with Mindray BS 240 | 4 x 35ml + 2 x 18ml | 24
3.13 | Alanine Aminotransferase kit compatible with Mindray BS 240 | 4 x 35ml + 2 x 18ml | 24
3.14 | Glucose Kit compatible with Mindray BS 240 | 4 x 40ml + 2 x 20ml | 24
3.15 | Creatinine Kit compatible with Mindray BS 240 | 2 x 27ml + 1 x 18ml | 36
3.16 | ClinChem multisera level 1 compatible with Mindray BS240 | 10 * 5mls | 6
3.17 | ClinChem multisera level 2 compatible with Mindray BS 240 | 10 * 5mls | 6
3.18 | Multi Sera Calibrator kit compatible with Mindray BS 240 | 10 * 3mls | 6
3.19 | CD-80 Detergent compatible with Mindray BS 240 | 2L x 6 | 24
3.20 | Cuvette compatible with Mindray BS 240 | 8 pcs/pack | 2
3.21 | Cholesterol total (CHOD) compatible with Mindray BS 240 | 4x40ml | 6
3.22 | Low density lipoprotein Cholesterol (LDL-C) compatible with Mindray BS 240 | 4x40ml | 6
3.23 | High density lipoprotein Cholesterol (HDL-C) compatible with Mindray BS 240 | 4x40ml | 6
3.24 | LDL/HDL calibrator compatible with Mindray BS 240 | 4x 3mls | 3
3.25 | Triglycerides (GPO) compatible with Mindray BS 240 | 4x40ml | 6
3.26 | Bilirubin direct compatible with Mindray BS 240 | 4x20ml+20ml | 24
3.27 | Bilirubin total compatible with Mindray BS 240 | 4x20ml+20ml | 24
3.28 | Albumin compatible with Mindray BS 240 | 4x40ml | 24