## Instructions
ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER
Contract title: Supply of reagents and other sanitary consumables for Blantyre, Malawi
p 1/4
Publication reference: THE NET_AID_013244/01/1_02
Columns 1-5 should be completed by the contracting authority
Columns 6-9 should be completed by the tenderer
Column 10 is reserved for the evaluation committee
Annex III - the contractor's technical offer
The tenderers are requested to complete the template on the next pages:
Columns 2-5 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
Columns 6-9 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
Column 10 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation
In Column 8 the tenderer must indicate the expiry date - Please note that the minimum shelf life must be 12 months (from the date of delivery)
For all items, an information leaflet in English is required.
The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.
The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

## Reagents
Publication reference: THE NET_AID_013244/01/1_02
Notes for completion
5° | Different pack size are accepted. Be sure to adapt the packsize to the total quantities requested
6. * | For every item the information leaflet in english is required as well as a sample
7. ** | Indicate the composition of the packaging: type and quantities (for example 10x10)
8. *** | Indicate the date of validity - Please observe that the minimum validity must be of 12 months from the delivery date
Lot 1: Reagents for Blantyre
1.Item Number | 2.Name of item requested | 3. Specifications required | 4. Pack/kit size | 5. Kits requested° | 6. Specifications offered * | 7.Quantities offered ** | 8.Expiry dates *** | 9. Notes, remarks, ref to documentation | 10. Evaluation committee notes
1.1 | HPV molecular detection test compatible with Cepheid GeneXpert | Molecular in-vitro diagnostic test for the qualitative detection of high-risk Human Papillomavirus (hrHPV) DNA in cervical specimens, detecting at least 14 high-risk HPV types, with specific identification of HPV 16 and HPV 18/45, for use on an automated real-time PCR molecular diagnostic system. The offered product shall be fully validated and compatible with the GeneXpert molecular diagnostic system available at the contracting authority. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | 1x10 | 350
1.2 | HR HPV AMP (amplification) Kit (CE) compatible with Abbott Alinity m | In-vitro diagnostic molecular assay for the qualitative detection of at least 14 high-risk human papillomavirus (hrHPV) genotypes in cervical specimens, using automated nucleic acid amplification technology. The offered product shall ne compatible with the Abbott Alinity m automated molecular diagnostics analyzer, which utilizes real-time PCR technology. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | kit (384 tests/pack) | 20
1.3 | HR HPV CTRL Kit (CE) compatible with Abbott Alinity m | External positive and negative controls intended for use with the offered high-risk HPV molecular assay. Controls shall enable verification of assay performance and validity of test runs. The offered product shall ne compatible with the Abbott Alinity m automated molecular diagnostics analyzer, which utilizes real-time PCR technology. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | kit 1x24 | 9
1.4 | Molecular diagnostic sample preparation kit compatible with Abbott Alinity m | Reagent kit intended for automated preparation of clinical specimens for nucleic-acid molecular testing, including sample lysis and nucleic-acid preparation steps as applicable to the offered system. The offered product shall ne compatible with the Abbott Alinity m automated molecular diagnostics analyzer, which utilizes real-time PCR technology. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | kit 1x4 (1536 tests/pack) | 5
1.5 | Lysis reagent for molecular diagnostic sample preparation compatible with Abbott Alinity m | Lysis reagent for automated molecular diagnostic sample preparation, intended for the efficient disruption of cellular material and release of nucleic acids (DNA/RNA) from clinical specimens prior to nucleic acid amplification and detection. The offered product shall ne compatible with the Abbott Alinity m automated molecular diagnostics analyzer, which utilizes real-time PCR technology. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack | 24
1.6 | Molecular diagnostic diluent solution compatible with Abbott Alinity m | Solution intended for dilution and preparation of clinical specimens or molecular diagnostic reagents prior to nucleic acid testing. The offered product shall ne compatible with the Abbott Alinity m automated molecular diagnostics analyzer, which utilizes real-time PCR technology. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack 1x4 | 6
1.7 | Vapor barrier for molecular diagnostic testing compatible with Abbott Alinity m | Barrier/sealing component designed to minimize evaporation and prevent aerosol or cross-contamination during automated molecular diagnostic processing. The offered product shall ne compatible with the Abbott Alinity m automated molecular diagnostics analyzer, which utilizes real-time PCR technology. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack | 2

## Consumables
Publication reference: THE NET_AID_013244/01/1_02
Notes for completion
4° | Different pack size are accepted. Be sure to adapt the packsize to the total quantities requested
6. * | For every item the information leaflet in english is required as well as a sample
7. ** | Indicate the composition of the packaging: type and quantities
8. *** | Indicate the date of validity - Please observe that the minimum validity must be of 12 months from the delivery date
Lot 2: Supply of sanitary consumables
1.Item Number | 2.Name of item requested | 3. Specifications required | 4. Pack Size° | 5. Packs requested | 6.Specifications offered * | 7.Quantities offered ** | 8.Expiry dates *** | 9. Notes, remarks, ref to documentation | 10. Evaluation committee notes
2.1 | Cotton wool | Soft, absorbent, medical-grade cotton wool suitable for cleaning, preparation of skin, and general medical or laboratory use. Hospital-Grade hydrophilic cotton rolls. Attention: it is mandatory to attach the product catalogue for each item. | pack 1 kg | 40
2.2 | Chemical sterilant for medical devices (5L) | Ready-to-use high-level disinfectant solution. Sodium Hypochlorite for disinfection of working surfaces and equipment. 10% - 15% concentration(to be diluted to desired concentration prior to use). Attention: it is mandatory to attach the product catalogue for each item. | 5L | 25
2.3 | Alcohol-based hand sanitiser (100 mL) | Hand hygiene preparation containing an appropriate concentration of alcohol, intended for hygienic hand disinfection. 70% ethanol (v/v) as the preferred concentration for an alcohol-based hand sanitizer to meet the required effectiveness and quality standards. Attention: it is mandatory to attach the product catalogue for each item. | 100 ml | 60
2.4 | Ethanol (ethyl alcohol) (1x5L) | Absolute ethanol to be diluted to the required concentration, suitable for laboratory use, cleaning and disinfection of surfaces and equipment. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | 5L | 12
2.5 | Powder-free disposable medical examination gloves, size M | Single-use, powder-free medical examination gloves, size medium, suitable for clinical and laboratory procedures, providing protection against contamination and contact with biological materials. Attention: it is mandatory to attach the product catalogue for each item. | pack 1x100 | 600
2.6 | Biohazard bags | Single-use biohazard bags for collection, containment and disposal of potentially infectious or biologically contaminated waste, suitable for use in healthcare and laboratory environments. Size 900X1000mm. Attention: it is mandatory to attach the product catalogue for each item. | pack 1x50 | 10
2.7 | Disposable protective aprons | Single-use protective aprons designed to protect clothing and skin from contamination and splashes during healthcare, laboratory, or clinical procedures; 75 x 120 cm, polyethylene. Attention: it is mandatory to attach the product catalogue for each item. | pack 1x100 | 15
2.8 | Kit SU 50 Test HPV Assisted or Self-Sampling | HPV assisted or self-sampling kit, 50-test format, including sterile medical-grade plastic sampling devices with synthetic fiber tip, leak-proof polypropylene collection tubes/vials with screw cap and preservation medium, indicative tube capacity 2–5 mL, suitable for cervico-vaginal specimen collection, preservation and transport for HPV DNA testing, either by healthcare-assisted or self-collection.Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack 1x50 kits | 200

## Medical and diagnostic products
Publication reference: THE NET_AID_013244/01/1_02
Notes for completion
4° | Different pack size are accepted. Be sure to adapt the packsize to the total quantities requested
6. * | For every item the information leaflet in english is required as well as a sample
7. ** | Indicate the composition of the packaging: type and quantities
8. *** | Indicate the date of validity - Please observe that the minimum validity must be of 12 months from the delivery date
Lot 3: Supply of medical and diagnostic products
1.Item Number | 2.Name of item requested | 3. Specifications required | 4. Pack Size° | 5. Packs requested | 6.Specifications offered * | 7.Quantities offered ** | 8.Expiry dates *** | 9. Notes, remarks, ref to documentation | 10. Evaluation committee notes
3.1 | Disposable pipette tips,50 µL compatible with Abbott Alinity m | Disposable, single-use pipette tips with a nominal volume of 50 µL, intended for automated liquid handling and sample/reagent transfer in molecular diagnostic testing. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack 1x5760 | 5
3.2 | Disposable pipette tips, 1000 µL compatible with Abbott Alinity m | Disposable, single-use pipette tips with a nominal capacity of 1000 µL, intended for automated liquid handling and transfer of samples and reagents in molecular diagnostic testing. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack 1x3840 | 5
3.3 | Disposable integrated reaction units compatible with Abbott Alinity m | Single-use integrated reaction units designed for automated molecular diagnostic testing, compatible with an automated nucleic acid amplification and detection system. The reaction units are intended to support the automated processing and amplification of nucleic acid samples and the detection steps of molecular diagnostic assays. The offered product shall be compatible with the Abbott Alinity m automated molecular diagnostics analyzer, which utilizes real-time PCR technology.Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack 1x80 | 25
3.4 | Automated molecular diagnostic system waste box compatible with Abbott Alinity m | Single-use waste collection container for automated molecular diagnostic systems, designed for safe collection and containment of waste generated during testing. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item. | pack 1x10 | 3
3.5 | Disposable waste container for integrated reaction units generated during automated molecular diagnostic testing compatible with Abbott Alinity m | Single-use container designed for the collection and containment of used integrated reaction units and associated waste generated during automated molecular diagnostic testing. Attention: it is mandatory to attach the product catalogue, including the corresponding product codes for each item | pack 1x10 | 3